## Alla provningar
Order no: |  | Customer:
Material, Left: |  | Company
Material, Right |  | Department
Filler material |  | Address
Filler material |  | Address
ID No : | WT/dimension: | Billing Address
Billing Address
Contact person
Telephone n:o
Type of test object |  | E-mail address
Extra storage of samples |  | E-mail address
Amount of weeks: |  | Send a copy of the order to the following E-mail address: | lab@ostp.biz
All requirements specified below, and additional comments specified here, will be included in the Test Report.
No. of samples (measurements per sample) | Tests | Standard | Requirement |  |  | Decision rule
| Tensile test, BM in RT | ASTM A370/ A1058 /ASTM E8/E8M | Rp 0,2 min. = |  | MPa
|  |  | Rp 1,0 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
| Tensile test, BM in RT | ISO 6892-1 | Rp 0,2 min. = |  | MPa
|  |  | Rp 1,0 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
| Tensile test, BM, in elevated temperature | ISO 6892-2 | Rp 0,2 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
|  |  | Temperature = |  | ° C
| Tensile test, CW in RT | ASTM A370/ A1058 /ASTM E8/E8M | Rm = |  | MPa
| Tensile test, CW in RT | ISO 4136 | Rm = |  | MPa
| Tensile test, CW, in elevated temperature | ISO 4136 / ISO 6892-2 | Rm min. = |  | MPa
|  |  | Temperature = |  | ° C
| Hardness, BM | ISO 6507-1 | HV 10 max. = |  | HV 10
No of indentions =
Indentions profile, see below
Macrographic pictures? =
| Hardness, Weld | ISO 6507-1 / ISO 9015 | HV 10 max. = |  | HV 10
Number of indentions =
Indentions profile, see below
Macrographic pictures? =
| Hardness, BM, HAZ, Weld | ISO 6507-1 / ISO 9015 | HV 10 max. = |  | HV 10
Number of indentions =
Indentions profile, see below
Macrographic pictures? =
| Hardness | ISO 6508-1 | HRB (Rockwell B) max. = |  | HRB
|  |  | HRC (Rockwell C) max. = |  | HRC
Indentions profile, see below
Number of indentions =
| Pitting Corrosion Test | ASTM G48 Method A | Time = |  | h
|  |  | Temperature = |  | ° C
|  |  | Max. weight loss = |  | g/m2
Look for Pitting in 20X magnification?
Additional pickling before test
| Corrosion Test for Classification of Structure | ASTM A923 Method C | Time = |  | h
|  |  | Temperature = |  | ° C
|  |  | Max. weight loss = |  | mdd
|  |  | Magnification= |  | X
| Intergranular Corrosion Test (Strauss test) | ASTM A262 Practice E | Cracks= | No
Test in BM/WM or both:
|  |  | Magnification= |  | X
| Intergranular Corrosion Test (Strauss test) | ISO 3651 - 2 Method A | Max. weight loss = |  | g/m2
Test in BM/WM or both:
|  |  | Cracks in 10X magnification | No
| Intergranular Corrosion Test | ISO 3651 - 2 Method B | Max. weight loss = |  | g/m2
Test in BM/WM or both:
|  |  | Cracks in 10X magnification | No
| Intergranular Corrosion Test (Streicher test) | ISO 3651 - 2 Method C | Max. weight loss = |  | g/m2
Test in BM/WM or both:
|  |  | Cracks in 10X magnification | No
| Intergranular Corrosion Test (Streicher test) | ASTM A262 Practice B | Cracks= | No
|  |  | Magnification= |  | X
| Intergranular Corrosion Test (Huey Test) | ASTM A262 Practice C | Cracks= | No
|  |  | Magnification= |  | X
| Intergranular Corrosion Test (Huey test) | ISO 3651 - 1 | Max. mass loss = |  | g/(m2 x h)
|  |  | Max. mass loss = |  | mm/a
| Ferrite/Austenite ratio | ASTM E562 | Relative accuracy = |  | %
|  |  | Range BM = |  | %
|  |  | Range HAZ = |  | %
|  |  | Range HAZ HT = |  | %
|  |  | Range Weld = |  | %
Location Midthickness? =
Location Outer Surfaces? =
Grid Size? =
|  |  | Magnification = |  | X
Micrographic pictures? =
| Intermetallic phases (Classification of etch structure) | ASTM A923 Method A | Intermetallic phases? =
Location Midthickness
Location Outer Surfaces
|  |  | Magnification = |  | X
Etchant:
| Intermetallic phases (Classification of etch structure) | ASTM A262 Practice A | Intermetallic phases? =
Location Midthickness? =
Location Outer Surfaces? =
|  |  | Magnification = |  | X
Etchant:
| Microscopic examination of welds | ISO 17639 | Magnification min/max.:
Location Midthickness
Location Outer Surfaces
Etchant:
Micrographic pictures? =
| Macroscopic examination of welds | ISO 17639 | Magnification min/max.:
Location Midthickness
Location Outer Surfaces
Etchant:
Macrographic pictures? =
| Impact testing (Charpy-V) | ASTM E23 | Wall thickness = |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No. of set in BM:
No. of set in HAZ:
No. of set in WM:
No. of set in XXX
|  |  | 10 x 10 min average = |  | J
|  |  | 10 x 10 min. single value = |  | J
|  |  | Reduction factors, subsize specimens: | 7,5= -5/6 | 5= -2/3
|  |  | Lateral expansion, min. = |  | mm
| Impact testing (Charpy-V), BM | ISO 148-1 | Wall thickness = |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No. of set(s) in BM:
|  |  | 10 x 10 min average = |  | J
|  |  | 10 x 10 min. single value = |  | J
|  |  | Reduction factors, subsize specimens - OR OTHER: | 7,5= -3/4 | 5= -1/2
|  |  | Lateral expansion, min. = |  | mm
| Impact testing (Charpy-V), Weld | ISO 148-1 / ISO 9016 | Wall thickness = |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No. of set in BM:
No. of set in HAZ:
No. of set in WM:
No. of set in XXX
|  |  | 10 x 10 min average = |  | J
|  |  | 10 x 10 min. single value = |  | J
|  |  | Reduction factors, subsize specimens - OR OTHER: | 7,5= -3/4 | 5= -1/2
|  |  | Lateral expansion, min. = |  | mm
| Bend test (Root in) | ISO 5173 | Cracks in bent area
| Bend test (Root out) | ISO 5173 | Cracks in bent area
| Bend test (Side bend test) | ISO 5173 | Cracks in bent area
| Drift Expanding Test | ISO 8493 | Expansion value = |  | %
On coldformed fitting with OD < 114
| Chemical Composition (OES) (Austenitiskt stål) | ASTM E1086 | Production/Requirement standard?
Tolerances acc to
BM and/or WM
| Chemical Composition (OES) (Duplext stål) | ASTM E415 + ASTM E1086 | Production/Requirement standard?
Tolerances acc to
BM and/or WM
| Chemical Composition (OES) (Kol- och låglegerat stål) | ASTM E415 | Production/Requirement standard?
Tolerances acc to
BM and/or WM
Other analysis:
ex. hardness indentations profile:
Other profile acc to:
Left |  |  | Right

## Listor
|  |  | RT |  | 12 | 3
5 fields, 100 points | Yes | 2 | -40 | +25 | 24 | 6 | ≥ 6 | BM | 10% Oxalic Acid | ≥5x | ≥50x | BM
30 fields, 16 points | No | 8 | -46 | +50 | 48 | 9 | ≥ 5 | WM | Royal Water | ≥10x | ≥100x | WM
|  |  | -50 |  | 72 | 11 |  | BM+WM | 20% NaOH | 20x | 200x | BM and WM
|  |  | -51 |  |  | 13 |  |  | 40% NaOH | max 20x | ≥200x
|  |  | -196 |  |  | 15 |  |  | Other | 40x | 500x
[6 empty] | 17 |  |  | Yes, if needed | 50x | ≥500x
[6 empty] | 19 |  |  |  | max 50x
21