## Test Order
Order no: | Material grade: | Customer:
Name
Adress
ID No : | WT:
Contact person
Telephone n:o
E-mail address
Please specify any overall specific requirements: |  | Send a copy of the order to the following E-mail address:
No. of samples (measurements per sample) | Tests | Standard | Requirement
| Tensile test, Basematerial in Room Temperature (RT) | ASTM A370 / ASTM E8/E8M | Rp 0,2 min. = |  | MPa
|  |  | Rp 1,0 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
| Tensile test, Basematerial in Room Temperature (RT) | ASTM A1058 / ASTM E8/E8M | Rp 0,2 min. = |  | MPa
|  |  | Rp 1,0 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
| Tensile test, Basematerial in Room Temperature (RT) | ISO 6892-1 | Rp 0,2 min. = |  | MPa
|  |  | Rp 1,0 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
| Tensile test, Base material, in elevated temperature | ISO 6892-2 | Rp 0,2 min. = |  | MPa
|  |  | Rm = |  | MPa
|  |  | A5 min. = |  | %
|  |  | Temperature = |  | ° C
| Tensile test, Cross weld in RT | ASTM A370 / ASTM E8/E8M | Rm = |  | MPa
| Tensile test, Cross weld in RT | ASTM E8/E8M | Rm = |  | MPa
| Tensile test, Cross weld in RT | ISO 4136 | Rm = |  | MPa
| Tensile test, Cross weld in RT | ISO 6892-1 | Rm = |  | MPa
| Tensile test, Cross weld, in elevated temperature | ISO 6892-2 | Rm min. = |  | MPa
|  |  | Temperature = |  | ° C
| Hardness | ISO 6507-1 | HV 10 max. = |  | HV 10
No of indentions =
Macrographic pictures? =
| Hardness | ISO 6508-1 | HRB (Rockwell B) max. = |  | HRB
|  |  | HRC (Rockwell C) max. = |  | HRC
No of indentions =
| Pitting Corrosion Test | ASTM G48 Method A | Time = |  | h
|  |  | Temperature = |  | ° C
|  |  | Max. weight loss = |  | g/m2
Pitting in 20X magnification?
| Intergranular Corrosion Test (Huey test) | ISO 3651 - 1 | Max. mass loss = |  | g/(m2 x h)
Test in Base, Weld or both:
|  |  | Max. mass loss = |  | mm/a
| Intergranular Corrosion Test (Strauss test) | ISO 3651-2 Method A | Max. weight loss = |  | g/m2
Test in Base, Weld or both:
Cracks in 10X magnification
| Intergranular Corrosion Test (Strauss test) | ISO 3651-2 Method B | Max. weight loss = |  | g/m2
Test in Base, Weld or both:
|  |  | Cracks in 10X magnification | No
| Intergranular Corrosion Test (Streicher test) | ISO 3651-2 Method C | Max. weight loss = |  | g/m2
Test in Base, Weld or both:
|  |  | Cracks in 10X magnification | No
| Intergranular Corrosion Test (Streicher test) | ASTM A262 Practice B | Max. mass loss = |  | mm/month
Test in Base, Weld or both:
| Intergranular Corrosion Test (Huey Test) | ASTM A262 Practice C | Max. mass loss = |  | g/(m2 x h)
Test in Base, Weld or both:
|  |  | Max. mass loss = |  | mm/month
| Intergranular Corrosion Test (Strauss test) | ASTM A262 Practice E | Cracks= | No
Test in Base, Weld or both:
|  |  | Magnification= |  | X
ex. 1(9) | Ferrite/Austenite ratio | ASTM E562 | Relative accuracy = |  | %
|  |  | Range BM = |  | %
|  |  | Range HAZ = |  | %
|  |  | Range Weld = |  | %
Location Midthickness? =
Location Outer Surfaces? =
Grid Size? =
|  |  | Magnification = |  | X
Etchant:
Micrographic pictures? =
| Intermetallic phases (Classification of etch Structure) | ASTM A923 Method A | Intermetallic phases? =
Etchant:
| Impact test for Classification of Structure | ASTM A923 Method B | Testing temp. = |  | ° C
|  |  | 10 x 10 min. single value = |  | J
Set in BM:
Set in HAZ:
Set in WM:
| Corrosion Test for Classification of Structure | ASTM A923 Method C | Time = |  | h
|  |  | Temperature = |  | ° C
|  |  | Max. weight loss = |  | mdd
|  |  | Magnification= |  | X
| Intermetallic phases (Classification of etch structure) | ASTM A262 Practice A | Intermetallic phases? =
Etchant:
| Grain Size | ASTM E112 | Micrographic pictures? =
Etchant:
| Impact testing (Charpy-V) | ASTM A370 /ASTM E23 | Wall thickness: |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No of set in BM:
No of set in HAZ:
No of set in WM:
|  |  | 10 x 10 min average = |  | J
|  |  | 10 x 10 min. single value = |  | J
|  |  | Reduction factors, subsize specimens: | 7,5= -5/6 | 5= -2/3
|  |  | Lateral expansion, min. = |  | mm
| Impact testing (Charpy-V) | ASTM A1058 /ASTM E23 | Wall thickness: |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No of set in BM:
No of set in HAZ:
No of set in WM:
|  |  | 10 x 10 min average = |  | J
|  |  | 10 x 10 min. single value = |  | J
|  |  | Reduction factors, subsize specimens: | 7,5= -5/6 | 5= -2/3
|  |  | Lateral expansion, min. = |  | mm
ex. 3 sets (each 3 specimen) | Impact testing (Charpy-V) | ISO 148-1 / ISO 9016 | Wall thickness: |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No of set in BM:
No of set in HAZ:
No of set in WM:
|  |  | 10 x 10 min average absorbed energy= |  | J
|  |  | 10 x 10 min. absorbed energy single value = |  | J
|  |  | Reduction factors, subsize specimens: | 7,5= -3/4 | 5 = -1/2
|  |  | Lateral expansion, min. = |  | mm
| Impact testing (Charpy-V) | ISO 148-1 | Wall thickness: |  | mm
|  |  | Testing temp. = |  | ° C
|  |  | V-striker size, 2mm or 8 mm: |  | mm
No of set in BM:
No of set in HAZ:
No of set in WM:
|  |  | 10 x 10 min average absorbed energy= |  | J
|  |  | 10 x 10 min. absorbed energy single value = |  | J
|  |  | Reduction factors, subsize specimens: | 7,5= -3/4 | 5 = -1/2
|  |  | Lateral expansion, min. = |  | mm
| Bend test (Root in) | ISO 5173 | Cracks in bent area
| Bend test (Root out) | ISO 5173 | Cracks in bent area
| Drift Expanding Test | ISO 8493 | Expansion value = |  | %
On coldformed fittings with OD < 114
| Chemical Composition (OES) | ASTM E1086 | Production standard?
| Chemical Composition (OES) | ASTM E415 | Production standard?
| Water analysis at room temperature | Spectrofotometry, HACH DR1900 | Cr6+ |  | mg/l
|  |  | Ni2+ |  | mg/l
|  |  | F- |  | mg/l
| Water analysis at room temperature | pH-measurement | pH
|  | conductivity | Conductivity |  | S/m
Storing of samples and test items is/are available for an extra fee of 50 SEK/week. If applicable check the correct box, and define the amount of weeks: |  |  | All requirements specified above, and additional comments specified below, will be included in the Test Report.
|  |  | Comments |  | Tests
Billing Adress:
Name:
Adress:
Postal Adress:
YES
NO

## Lists
|  |  | RT |  | 12 | 3 |  |  | BM
5 fields, 100 points | Yes | 2 | 0 | +25 | 24 | 6 | ≥ 6 | 10% Oxalic Acid | WM
30 fields, 16 points | No | 8 | -40 | +50 | 48 | 9 | ≥ 5 | Royal Water | BM+WM
|  |  | -46 |  | 72 | 11 |  | 20% NaOH
|  |  | -50 |  |  | 13 |  | 40% NaOH
|  |  | -52 |  |  | 15
|  |  | -196 |  |  | 17
19
21